## Sheet2
INSTALLATION OF 6 HIGH MAST LIGHTING IN MATATIEL LOCAL MUNICIPALITY
BILL OF QUANTITIES
Item | Description | Unit | QTY | Rate | Total
BILL NO 1: PRELIMINARY AND GENERAL ITEMS
1.1 | Contraction Requirements
| Contraction Requirements | Sum | 1 |  | 0
1.2 | Facilities for Engineer on Site:
| Survey Assistants | Sum | 1 |  | 0
| Name Board | Sum | 1 |  | 0
| Survey Equipment | Sum | 1 |  | 0
1.3 | Facilities for Contractor
| Offices & Storage Sheds | Sum | 1 |  | 0
| On Site communication | Sum | 1 |  | 0
| Tools & Equipment | Sum | 1 |  | 0
| Water supplies, electric power & communications | Sum | 1 |  | 0
| Dealing with water | Sum | 1 |  | 0
1.3.10 | Security for Contractor's plant & personnel | Sum | 1 |  | 0
1.3.11 | Setting out ofworks | Sum | 1 |  | 0
1.4 | TIME RELATED ITEMS
| Furnished offices | Sum | 1 |  | 0
| Telephone/Cellular | Sum | 1 |  | 0
| TOTAL CARRIED FORWARD |  |  |  | 0
Bill 1-2
Item | Description | Unit | Qty | Rate | Total
| TOTAL BROUGHT FORWARD |  |  |  | 0
1.5 | Facilities for Contractor for duration of construction, except where otherwise stated
| Offices & Storage Sheds | Sum | 1 |  | 0
| On Site communication | Sum | 1 |  | 0
| Tools & Equipment | Sum | 1 |  | 0
| Water supplies, electric power & communications | Sum | 1 |  | 0
| Dealing with water | Sum | 1 |  | 0
| Access | Sum | 1 |  | 0
| Plant | Sum | 1 |  | 0
1.6 | Supervision for duration of construction | Sum | 1 |  | 0
| Company & head office overhead costs for the contract | Sum | 1 |  | 0
| Other time related obligations | Sum | 1 |  | 0
1.11 | SOCIAL FACILITATION
1.11.1 | Community Liasing Officer | Prov | 4 |  | 0
1.11.2 | ISD | Prov | 1 |  | 50000
| TOTAL TO SUMMARY CARRIED FOR BILL NO. 1 |  |  |  | 50000
Item | Description | Unit | Qty | Rate | Total
TOTAL BROUGHT FORWARD
1.12 | SPECIFICATION FOR HEALTH & SAFETY (OSHACT)
1.12.1 | Training of Site personnel | Sum | 1 |  | 0
| SHE representative | Sum | 1 |  | 0
| First Aid equipment | Sum | 1 |  | 0
| Fire Fighting equipment | Sum | 1 |  | 0
| PPE | Sum | 1 |  | 0
| Barricading | Sum | 1 |  | 0
| Signs | Sum | 1 |  | 0
| Medical surveillance equipment | Sum | 1 |  | 0
| Allow lump sum forn mediacl examination of all workers | Sum | 1 |  | 0
Allow 10% profit on above
Provision of Plant
| 20t Crane for erection and lifting of Masts. | Sum | 1 |  | 0
| Mast Erection Team to Site | Sum | 1 |  | 0
1.13 | Provision of OSH plan | Lump | 1 |  | 0
| Implemantation of appved OHS Plan | Mnths | 3 |  | 0
| Registration with compensation fund | Sum | 1 |  | 0
| Full time competent employee of contrator | Mnths | 3 |  | 0
| Compliance with EMP | Sum | 1 |  | 0
| OHS Consultant | Prov.Sum | 1 |  | 35000
| Inductions and Medicals | Sum | 1 |  | 0
| TOTAL TO SUMMARY CARRIED FOR BILL NO. 1 |  |  |  | 35000
Bill 2-1
Item | Description | Unit | Qty | Rate | Total
BILL NO 2: AREA HIGH MASTS LIGHTING - 30 METER MAST
2.1 | High Masts
Setting out of Concrete foundation including soil and concrete cubes
complete with foundation bolts and templates,
hot dig galvanised to SANS 121 ISO 1461 specification
2.1.1 | SUPPLY ONLY | ea | 10 |  | 0
2.1.2 | INSTALLATION | ea | 10 |  | 0
2.1.3 | SUPPLY ONLY: FOUNDATION BOLTS | set | 10 |  | 0
2.1 | High Masts
Setting out of the 30m 6X400W LED high mast
equally spaced around mast luminaires as per the design
complete with foundation bolts and templates,
hot dig galvanised to SANS 121 ISO 1461 specification
2.1.1 | SUPPLY ONLY | ea | 10 |  | 0
2.1.2 | INSTALLATION(ASSEMBLY) | ea | 10 |  | 0
2.1.2 | DELIVERY OF MASTS TO SITE (PER LOAD) | ea | 3 |  | 0
2.2 | Light fitting & lamps
Supply, delivery to site, installation and wiring of 400W LED luminaires complete incl. lamps, control gear, wiring and fitting to lampcage
| SUPPLY ONLY | ea | 90 |  | 0
| INSTALLATION | ea | 90 |  | 0
2.3 | Distribution Board
Supply, delivery and installation of electrical distribution board for the control of a high mast
| SUPPLY ONLY | ea | 10 |  | 0
| INSTALLATION | ea | 10 |  | 0
2.4 | All earthing materials per high mast
| SUPPLY ONLY | ea | 10 |  | 0
| INSTALLATION | ea | 10 |  | 0
2.5 | Soil Bearing pressure test certificate signed by a Professional | ea | 10 |  | 0
2.6 | Concrete Plinth for the Mast
Supply, delivery to site and construction of
concrete plinth for the erection of the mast complete
including drawings for approval and cable entry
sleeves and soil tests
| SUPPLY ONLY [Labour Intensive] | ea | 10 |  | 0
| INSTALLATION [Labour Intensive] | ea | 10 |  | 0
| IMPORT SOIL & BACKFILL [Refer to DCP for soil condition ] | m3 | 10 |  | 0
2.7 | Concrete test cubes on site as specified for every 30m mast | ea | 10 |  | 0
2.8 | Complete technical information including SANS certification | sum | 10 |  | 0
2.9 | Testing & Commissioning complete with certificate for | ea | 10 |  | 0
2.7 | Portable single drum worm gear type winch
| SUPPLY ONLY | ea | 1 |  | 0
2.7 | Hydraulic Power Tool with Remote
| SUPPLY ONLY | ea | 1 |  | 0
2.7 | Test Lead ( 5Pin,16A,8m long)
| SUPPLY ONLY | ea | 1 |  | 0
| TOTAL CARRIED FORWARD FOR BILL NO. 2 |  |  |  | 0
BILL NO 3: LV CABLE INSTALLATION FOR HIGH MAST
Item | Description | Unit | Qty | Rate | Total
3.1 | 600/1000V PVC/SWA/PVC CABLES
16mm2 4c Stranded Cu
| SUPPLY ONLY | ea | 900 |  | 0
| INSTALLATION | ea | 900 |  | 0
3.2 | CABLE ENDS
Terminate & make off the following PVC/SWA/PVC cables by
means of Pratley cable termination. 16mm2 4c
| SUPPLY ONLY | ea | 10 |  | 0
| INSTALLATION | ea | 10 |  | 0
3.3 | Through joints for the following 600/1000V PVC/SWA/PVC
Joints shall be limited to a minimum. 16mm2 4c
insulated, PVC Bedded, SWA, PVC sheathed Low
| SUPPLY ONLY | ea | 50 |  | 0
| INSTALLATION | ea | 50 |  | 0
3.4 | Excavate & backfill cable trench 600mm deepx250mm wide
| Per running meter | m | 980 |  | 0
3.5 | Provide & Install white 100mm Dia PVC cable Sleeves through roads
| SUPPLY ONLY | ea | 70 |  | 0
| INSTALLATION [Labour Intensive] | ea | 70 |  | 0
3.6 | Seal all cable sleeves with non-hardening watertight compound
after installation of cables.
| SUPPLY ONLY | ea | 10 |  | 0
| INSTALLATION [Labour Intensive] | ea | 10 |  | 0
3.7 | Provide & Install concrete protection blocks between electrical
cables & existing services for 2m
| SUPPLY ONLY | ea | 10 |  | 0
| INSTALLATION | ea | 10 |  | 0
3.8 | Provide & Install danger tape in all LV cable trenches at 300mm below G
| Supply | m | 980 |  | 0
| Install | m | 980 |  | 0
3.9 | Marking LV Terminations with PVC Lettering & Cable ties
| 10mm2 | ea | 30 |  | 0
| 6mm2 | ea | 20 |  | 0
3.10 | Provide & Install galvanized steel downpipe complete with Strapping
| Supply | m | 60 |  | 0
| Install | m | 60 |  | 0
| TOTAL CARRIED FORWARD |  |  |  | 0
Item | Description |  |  |  | Total
SUMMARY - CONSTRUCTION BILL OF QUANTITIES
Bill No 1 | Preliminary and General Items |  |  |  | R
Bill No 2 | Area High Mast Lights |  |  |  | 0
Bill No 3 | LV Cable Installation for High Mast Lights |  |  |  | 0
A | SUB-TOTAL A |  |  |  | 0
B | PLUS: 10% CONTIGENCY |  |  |  | 0
C | SUB-TOTAL B |  |  |  | 0
D | PLUS 15% VAT |  |  |  | 0
E | TOTAL CONSTRUCTION COSTS |  |  |  | 0